## ipb1-30
reactor | folder | runDate | seq | fileName | file1 | file2 | startOffset | endOffset | gas | isDC | efficiency | termRes | version | googleModel | desc
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 110216 | file | IPB1_Temp_sequence_150-100-150ns_50W_150C-400C_Helium_day-01.csv | 1 | 2 | 0 | 0 | he | 0 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | q-he-150-400c
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 110416 | file | IPB1_Temp_sequence_150-100-150ns_50W_150C-400C_Helium_Run2_10-03-16_day-01.csv | 4 | 5 | 0 | 0 | he | 0 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | q-he-150-400c-run2
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 110816 | file | IPB1_Temp_sequence_150-100-150ns_50W_150C-400C_Helium_Run3_10-07-16_day-01.csv | 6 | 7 | 0 | 0 | he | 0 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | q-he-150-400c-run3
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 110916 | file | IPB1_Core_30b-DC_Qkcal_He-150C-500C_11-08-16_day-01.csv | 8 | 10 | 0 | 0 | he | 1 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | dc-he-150-500c
ipb1-30 | 2016-11-01-CRIO-v180_CORE_30b_He | 122016 | file | DC-excitation_day-01.csv | 22 | 23 | 0 | 0 | he | 1 | 0.86 | 1.594 | 180 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | dc-he-150-500c(same run as 110916
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 111116 | file | IPB1_Core_30b-Q_power_calibration_1000ns_Helium_JL__11-10-16_day-01.csv | 11 | 12 | 0 | 0 | he | 0 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | q-he-multiple-qp-mulitple-qpulse-len
ipb1-30 | 2016-11-01-CRIO-v174_CORE_30b_He | 111216 | file | IPB1_Core_30b-Q_power_calibration_1000ns_Helium_JL__11-11-16_day-01.csv | 14 | 16 | 0 | 0 | he | 0 | 0.86 | 1.594 | 174 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | q-he-multiple-qp-mulitple-qpulse-len-continue
ipb1-30 | 2016-11-01-CRIO-v180_CORE_30b_He | 010517 | file | IPB1_q-ex_day-01.csv | 48 | 51 | 0 | 0 | he | 0 | 0.86 | 1.594 | 180 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google q-exitation
ipb1-30 | 2016-11-01-CRIO-v180_CORE_30b_He | 011117 | file | IPB1_q-cal4_day-01.csv | 58 | 63 | 0 | 0 | he | 0 | 0.86 | 1.594 | 180 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google q-calibration with fixed temperature
ipb1-30 | 2017-01-13-v182_30b_He | 011817 | file | IPB1_q-cali2_day-01.csv | 5 | 7 | 0 | 5 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | 200-350 qpow step runs-eliminate 350c
ipb1-30 | 2017-01-13-v182_30b_He | 012017 | file | IPB1-Core_Bypass_ Seq_ 10W-60W_100 ns_300VDC__1-20-17_day-01.csv | 8 | 9 | 0 | 0 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | efficiency measurement
ipb1-30 | 2017-01-13-v182_30b_He | 012117 | file | IPB1-q-ex-480steps_day-01.csv | 11 | 13 | 0 | 0 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google q-exitation of 480 steps
ipb1-30 | 2017-01-13-v182_30b_He | 012317 | file | IPB1-q-ex-240-1_day-01.csv | 15 | 17 | 0 | 0 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google q-exitation of 240 steps
ipb1-30 | 2017-01-27-v183_30b_He | 012717 | file | ipb1-he-q-temp_day-01.csv | 1 | 4 | 0 | 0 | he | 0 | 0.86 | 1.594 | 183 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | 200-400 qpow step runs (same run and same results as 011817)
ipb1-30 | 2017-01-13-v182_30b_He | 012717 | file | test_day-01.csv | 21 | 21 | 0 | 0 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | test output
ipb1-30 | 2017-01-13-v182_30b_He | 012717 | file | test_day-02.csv | 22 | 22 | 0 | 0 | he | 0 | 0.86 | 1.594 | 182 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | test output
ipb1-30 | 2017-01-30-v184_30b_He | 013017 | file | ipb1-he_DC-200-300day-01.csv | 1 | 2 | 0 | 0 | he | 1 | 0.86 | 1.594 | 184 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | dc-he-200-300 (check if the run is still same as 110916), it changed quite lot)
ipb1-30 | 2017-01-30-v184_30b_He | 013117 | file | ipb1-he_DC-200-300-2_day-01.csv | 3 | 4 | 0 | 0 | he | 1 | 0.86 | 1.594 | 184 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | dc-he-200-300 (verify the resistance changed)
ipb1-30 | 2017-01-30-v184_30b_He | 020117 | file | ipb1-h2-dc-cali_day-01.csv | 5 | 9 | 0 | 0 | he | 1 | 0.86 | 1.594 | 184 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google run
ipb1-30 | 2017-01-30-v184_30b_He | 020517 | file | ipb1-h2-dc-ex_day-01.csv | 10 | 11 | 0 | 0 | he | 1 | 0.86 | 1.594 | 184 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google run
ipb1-30 | 2017-01-13-v182_30b_He | 012517 | file | IPB1-q-ex-480_day-01.csv | 17 | 17 | 4 | 4 | he | 0 | 0.86 | 1.594 | 184 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | google run
ipb1-30 | 2017-01-30-v184_30b_He | 020717 | file | ipb1-h2-dct_day-01.csv | 13 | 14 | 0 | 0 | h2 | 1 | 0.86 | 1.594 | 185 | ipb1-30b-he-dc-cali2_DKF_Calibration_01.mat | dc-h2-temp
ipb1-30 | 2017-02-08-v186_30b_H2 | 021117 | file | h2-q-temp_day-01.csv | 6 | 8 | 0 | 0 | h2 | 0 | 0.86 | 1.594 | 187 | ipb1-30b-h2-dc-calibration_DKF_calibration.05.mat | q-h2-temp
ipb1-30 | 2017-02-08-v186_30b_H2 | 021317 | file | h2-q-600-300_day-01.csv | 10 | 11 | 0 | 0 | h2 | 0 | 0.86 | 1.594 | 187 | ipb1-30b-h2-dc-calibration_DKF_calibration.05.mat | condition 600-300
ipb1-30 | 2017-02-08-v186_30b_H2 | 021417 | file | h2-q-200-400_day-01.csv | 12 | 13 | 0 | 0 | h2 | 0 | 0.86 | 1.594 | 187 | ipb1-30b-h2-dc-calibration_DKF_calibration.05.mat | q-h2-temp
ipb1-30 | 2017-02-08-v186_30b_H2 | 021517 | file | h2-q1-200-400_day-01.csv | 14 | 16 | 0 | 0 | h2 | 0 | 0.86 | 1.594 | 187 | ipb1-30b-h2-dc-calibration_DKF_calibration.05.mat | q-h2-temp
ipb1-30 | 2017-02-08-v186_30b_H2 | 022717 | file | h2-q1-200-400_day-01.csv | 30 | 33 | 0 | 0 | h2 | 0 | 0.86 | 1.594 | 187 | ipb1-30b-h2-dc-calibration_DKF_calibration.05.mat | q-h2-temp (core camoe out today, it has been tored apart.)